HiTime Thermometry

Cryostat white cap connector:

Line 1		KL 	 	Diffuser Heater

Line 4&5 	FJ/ED		Diffuser Cernox 6403

Cryostat black cap connector:

Line 1		KL		Tube Heater (warm)

Line 5		DE		Tube Heater (cold)

Line 2&3	AH/BC	Diffuser GaAlAs 9609

Insert:

Line 1		KL 		Platinum on light guide

Controls power to warm tube heater

Line 2&3	AH/BC	Sample GaAlAs 9361

Controls power to cold tube heater

Line 4&5	FJ/ED		Sample Cernox 6806